Załącznik nr 4.2

Zadanie 2. Akcesoria laboratoryjne

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lp. | Nazwa | Ilość  opak. | Cena jednostkowa netto PLN  (za 1 opak.) | Wartość netto  (ilość opak. x cena jedn. opak.) | Stawka VAT | Wartość brutto | Określenie oferowanego przedmiotu zamówienia (min. Nazwa Producenta i nr katalogowy) |
| 1 | Butelki do hodowli komórkowych, T75 sterylne, wykonane z polistyrenu, nakrętka z filtrem/wentylowana, powierzchnia hodowli 75 cm2, adhezyjne, z ukośną szyjką, 1 op. = 5 szt. | 60 |  |  |  |  |  |
| 2 | Sterylne filtry komórkowe, nylonowe, o średnicy porów 100μm, separatory dedykowane do probówek Falcon (typu Falcon 50ml), 1 op = 100szt. | 1 |  |  |  |  |  |
| ~~3~~ | ~~Sterylne probówki wirówkowe typu Eppendorf z płaskim profilowanym wieczkiem; bezbarwne, ze skalą i polem do opisu, wolne od Dnaz i Rnaz, pyrogenów i inhibitorów PCR, endotoksyn, ATP, niemutagenne; o pojemności 5 ml; 1 op.= 2 x 100 sztuk.~~ | ~~3~~ |  |  |  |  |  |
| ~~4~~ | ~~Sterylne probówki wirówkowe typu Eppendorf z zakręcanym wieczkem typu Screw Cap; bezbarwne, ze skalą i polem do opisu, wolne od Dnaz i Rnaz, pyrogenów i inhibitorów PCR, endotoksyn, ATP, niemutagenne;  o pojemności 5 ml; 1 op.=2 x 100 sztuk.~~ | ~~3~~ |  |  |  |  |  |
| Razem: | | | |  | - |  | - |

……………………………………………

Podpis Wykonawcy

Załącznik nr 4.16

Zadanie 16. Akcesoria laboratoryjne

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lp. | Nazwa | Ilość  opak. | Cena jednostkowa netto PLN  (za 1 opak.) | Wartość netto  (ilość opak. x cena jedn. opak.) | Stawka VAT | Wartość brutto | Określenie oferowanego przedmiotu zamówienia (min. Nazwa Producenta i nr katalogowy) |
| 3 | Sterylne probówki wirówkowe typu Eppendorf z płaskim profilowanym wieczkiem; bezbarwne, ze skalą i polem do opisu, wolne od Dnaz i Rnaz, pyrogenów i inhibitorów PCR, endotoksyn, ATP, niemutagenne; o pojemności 5 ml; 1 op.= 2 x 100 sztuk. | 3 |  |  |  |  |  |
| 4 | Sterylne probówki wirówkowe typu Eppendorf z zakręcanym wieczkem typu Screw Cap; bezbarwne, ze skalą i polem do opisu, wolne od Dnaz i Rnaz, pyrogenów i inhibitorów PCR, endotoksyn, ATP, niemutagenne;  o pojemności 5 ml; 1 op.=2 x 100 sztuk. | 3 |  |  |  |  |  |
| Razem: | | | |  | - |  | - |

………………………………………………

Podpis Wykonawcy

Appendix no. 1

(stamp of Contractor) data ..................................

# TENDER FORM

In response to the contract award notice for the "Supply of products for tests" (42/Z/22) as part of a commercial clinical trial project - development of innovative therapeutic solutions using RNA technology, we offer the subject of the contract to the extent covered by the Terms of Reference for the price:

**Task no. 1**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:………………………………………………………....**

**Task no. 2**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 3**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 4**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 5**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 6**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 7**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 8**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 9**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 10**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 11**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 12**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 13**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 14**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 15**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Task no. 16**

**gross price………….…….. PLN, VAT rate……**

**In words, gross price:……………………………………………………….…**

**Payment term - up to 45 days** from the date of invoice receipt by the Purchaser.

1. We hereby that we meet all the requirements contained in the Terms of Reference and accept them without reservation and that we have received all necessary information needed to prepare the tender.
2. We hereby declare that all documents submitted by us are compliant with the current legal and factual state.
3. We hereby declare that we consider ourselves bound by this tender for the time period indicated in the terms of reference.
4. We declare that the draft contract contained in the specification of essential terms of the contract has been accepted by us and in the event of choosing our offer - we declare the readiness to sign the contract on the terms specified

in the draft contract, constituting Appendix No. 3a (Task 1) or Appendix No. 3b (Task 2-16) to the TERMS AND CONDITIONS OF THE CONTRACT, at the place and time specified by the contracting authority.

1. I declare that I have the documents allowing the offered subject of the contract to be marketed in the territory of the country (if applicable) and I undertake to deliver them at each request of the Ordering Party, on the date indicated by him.
2. I will subcontract the following tasks to subcontractors:

...............................................

...............................................

1. I declare that I bear full responsibility for the actions of subcontractors.
2. I declare that the offered subject of the contract has min. a 12-month warranty period from the date of delivery to the registered office of the Contracting Authority.
3. Our e-mail address for receiving correspondence: ...................................
4. Agreement completion date:

Task 1: 12 months from the date of the agreement

Task 2: 12 months from the date of the agreement

Task 3: 12 months from the date of the agreement

Task 4: 12 months from the date of the agreement

Task 5: 12 months from the date of the agreement

Task 6: 12 months from the date of the agreement

Task 7: 12 months from the date of the agreement

Task 8: 12 months from the date of the agreement

Task 9: 12 months from the date of the agreement

Task 10: 12 months from the date of the agreement

Task 11: 12 months from the date of the agreement

Task 12: 12 months from the date of the agreement

Task 13: 12 months from the date of the agreement

Task 14: 12 months from the date of the agreement

Task 15: 12 months from the date of the agreement

Task 16: 12 months from the date of the agreement

The appendices to this tender are:

1. ..................................................
2. ..................................................
3. ..................................................
4. ..................................................

......................................................

*(signature of authorized representative)*

Appendix 4.2

Task 2. Laboratory accessories

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Name | Pieces/set. | Unit price PLN  (per 1 set) | The net value  (numer of set x price of one set) | VAT rate | Gross value | Specification of the offered subject of the contract (i.a. Manufacturer’s name and catalog number) | |
| 1 | Cell culture bottles, T75 sterile, made of polystyrene, filtered/ vented cap, 75 cm2 culture area, adhesive, with slanted neck, 1 pack = 5 pcs | 60 |  |  |  |  |  | |
| 2 | Sterile cell filters, nylon, 100μm pore diameter, separators dedicated to Falcon tubes (Falcon 50ml type), 1 pack = 100pcs. | 1 |  |  |  |  | |  |
| ~~3~~ | ~~Sterile Eppendorf centrifuge tubes with a flat profiled lid, colorless, with a scale and a field for description, free from DNases and RNases, free from pyrogens and PCR inhibitors, endotoxins, ATP, non-mutagenic; with a capacity of 5 ml; 1 box = 2 x 100 pieces.~~ | ~~3~~ |  |  |  |  | |  |
| ~~4~~ | ~~Sterile Eppendorf centrifuge tubes with Screw Cap; colorless, with a scale and a field for description, free from DNases and RNases, pyrogens and PCR inhibitors, endotoxins, ATP, non-mutagenic; with a capacity of 5 ml; 1 box=2 x 100 pieces.~~ | ~~3~~ |  |  |  |  | |  |
| Total: | | | |  | - |  | | - |

……………………………………………

Contractor

Appendix 4.16

Task 16. Laboratory accessories

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Name | Pieces/set. | Unit price PLN  (per 1 set) | The net value  (numer of set x price of one set) | VAT rate | Gross value | Specification of the offered subject of the contract (i.a. Manufacturer’s name and catalog number) | |
| 3 | Sterile Eppendorf centrifuge tubes with a flat profiled lid, colorless, with a scale and a field for description, free from DNases and RNases, free from pyrogens and PCR inhibitors, endotoxins, ATP, non-mutagenic; with a capacity of 5 ml; 1 box = 2 x 100 pieces. | 3 |  |  |  |  |  | |
| 4 | Sterile Eppendorf centrifuge tubes with Screw Cap; colorless, with a scale and a field for description, free from DNases and RNases, pyrogens and PCR inhibitors, endotoxins, ATP, non-mutagenic; with a capacity of 5 ml; 1 box=2 x 100 pieces. | 3 |  |  |  |  | |  |
| Total: | | | |  | - |  | | - |

………………………………………………

Contractor